USB Interface Communication for C Series MFC and P Series Pressure Controllers

Required Documents – USB Windows 10 USB Driver Folder

- Where to put the Driver Folder:

- Drop the unzipped folder on the deskop of the laptop or computer

- Installing the USB Driver:

- Communication with the MKS Device Web Browser is done by connecting a computer and the device via a usb to micro-usb connection.

- When the device is first connected to the laptop it will appear as a <Serial Device>.  For communication purposes the connection needs to be a <Network Adapter>.  The following information shows the steps to load the driver to accomplish that task.

- Write click and select update Driver

- Select <Browse my computer for driver software>

Find the folder on the desktop.  Select the folder <Irdis_win64

- Once the folder is selected, hit Next and the driver will load.

- A warning might appear asking if you trust this to be loaded in the computer.  Select <Allow>

- Establishing Communication to the Device

- Once the driver is loaded, check to make sure it has been updated to a <Network Adapter>

- To begin communicating to the device Web Browser, the NIC card being used needs to be setup properly.

- Go to <Network and Sharing Center>.  Double click on the Local connection to open properties of the Ethernet connection.

- Select <Internet Protocol Version 4 (TCP/IPv4) and click on <Properties>

- Select <use the following address> and type in a unique address for the NIC card in the format shown.  Insert the <Subnet Mask> as shown below.

- Open Microsoft Edge or Chrome and type in the IP Address of the device.  The default address is 192.168.2.155.